## Slide 1: Lecture 20: Organic Rankine Cycle Example
Edward Maginn

## Slide 2: Worked Example: Data Center Waste Heat Recovery
Let’s evaluate an ORC designed to recover waste heat from a server farm. The hot exhaust air from the servers is used to boil a refrigerant, R-134a.
Operating Conditions: * Boiler (evaporator): Operates at . At this pressure, R-134a boils at approximately , which is perfect for absorbing heat from data center exhaust. Saturated vapor exits. * Condenser: Operates at . Condenses at approximately , allowing heat rejection to cooling water. Saturated liquid exits. * Ideal Components: For simplicity, assume the turbine and pump are perfectly reversible ().

## Slide 3: Cycle Analysis: Turbine Expansion
Let’s use the R-134a thermodynamic tables to find the states:
State 2 (Boiler Out / Turbine In): Sat. Vapor at .
State 3 (Turbine Out / Condenser In): Isentropic expansion to .
  (From tables at 5 bar, this entropy is slightly inside the vapor dome, )
  Turbine Work:

## Slide 4: Cycle Analysis: Pumping
State 4 (Condenser Out / Pump In): Sat. Liquid at .
State 1 (Pump Out / Boiler In): Pumped to .

## Slide 5: Efficiency Calculation
Net Work:
Heat Added:
Thermal Efficiency:
Is 5.3% terrible? Not necessarily! The Carnot efficiency for these temperatures (, ) is only . We are getting free power out of heat that would otherwise just be vented into the atmosphere!