## Slide 1: Lecture 19: Improving Rankine Cycle Efficiency
Edward Maginn

## Slide 2: Analyzing the High-Pressure Turbine (HPT)
Stream 5 (Boiler Out / HPT In): 60 bar, 500°C.
Stream 6 (HPT Out): 10 bar.
  Ideal expansion ():
  Actual HPT Work ():
  Actual Enthalpy: (At 10 bar, this is approx 300°C with )

## Slide 3: Splitting the Flow (The Extraction Tee)
The Split: Stream 6 leaves the HP Turbine and immediately splits.
Stream 7 (To Feedwater Heater):
  Mass fraction =
  Properties remain identical to Stream 6: , 10 bar.
Stream 8 (To Low-Pressure Turbine):
  Mass fraction =
  Properties remain identical to Stream 6: , 10 bar.
Key Takeaway: Splitting a stream changes the mass flow rate, but it does not change the intensive thermodynamic properties (, , , ).

## Slide 4: Analyzing the Low-Pressure Turbine (LPT)
Stream 8 (LPT In): 10 bar, ,
Stream 9 (LPT Out / Condenser In): 1 bar.
  Ideal expansion (): (Two-phase mixture)
  Actual LPT Work per kg of steam passing through it ():
  Actual Enthalpy:
Important: The total work from the LPT depends on the mass fraction:

## Slide 5: Condensation and the First Pump
Stream 10 (Condenser Out): 1 bar, Saturated Liquid.
Pump 1 (Condensate Pump): Pressurizes from 1 bar to 10 bar.
  Ideal Pump Work:
  Actual Pump Work ():
Stream 11 (Pump 1 Out / OFWH In): 10 bar, Subcooled Liquid.
  Mass fraction =

## Slide 6: Mixing in the Open Feedwater Heater (OFWH)
The Goal: Mix hot extracted steam (Stream 7) with cold condensate (Stream 11) to produce a saturated liquid at 10 bar.
Stream 12 (OFWH Out): 10 bar, Saturated Liquid.
  Mass fraction = (The streams have recombined!)
Why do this? Stream 12 is much hotter () than the unheated condensate (). We are saving the boiler from having to do this heating!

## Slide 7: Energy Balance on the OFWH
We must find the exact fraction of steam () to extract so the mixture perfectly reaches the saturated liquid state.
Steady-State Energy Balance (Adiabatic OFWH):
Solve for :
(We extract 13.1% of the steam)

## Slide 8: Final Compression and Heat Addition
Pump 2 (Boiler Feed Pump): Pressurizes Stream 12 from 10 bar to 60 bar.
  Ideal Work:
  Actual Work ():
Stream 13 (Boiler In): 60 bar, Subcooled Liquid.
Boiler Heat Input ():

## Slide 9: Calculating Total Efficiency
Total Work Out (Turbines):
Total Work In (Pumps):
Net Work:
Thermal Efficiency: